## Chapter_10_LWR_OCC_Data
Table | A | OCC Cost Data Unfiltered.
Reference | Page | Cost Description | Reactor | Reference Year | Capacity in kW | OCC | Unit
OECD/NEA (2018) Full Costs of Electricity Provision | 68 | Nuclear (min) | n.a. | 2020 | 535 | 1807 | US-$(2015)/kWe
Shirvan (2022) | 7 | 10th unit AP1000 (Should cost) | AP1000 | 2019 | 1150 | 2900 | US-$(2018)/kWe
Rothwell (2022) Projected electricity costs | 2 | Taishin 1 & 2, China | EPR | 2019 | 1600 | 3200 | US-$(2018)/kWe
Rothwell (2022) Projected electricity costs | 2 | Sanmen, China | AP1000 | 2018 | 1150 | 3270 | US-$(2018)/kWe
Rothwell (2022) Projected electricity costs | 6 | NuScale NOAK | SMR | 2022 | n.a. | 3600 | US-$(2018)/kWe
OECD/NEA (2018) Full Costs of Electricity Provision | 68 | Nuclear (mean) | n.a. | 2020 | 1343 | 4249 | US-$(2015)/kWe
Shirvan (2022) | 7 | Next AP1000 (Should cost) | AP1000 | 2019 | 1150 | 4300 | US-$(2018)/kWe
Shirvan (2022) | 7 | 10th unit AP1000 (Post-COVID high estimate) | AP1000 | 2022 | 1150 | 4500 | US-$(2022)/kWe
Barkatullah & Ahmad (2017) Current status and emerging trends | 132 | Asssumed parameters | n.a. | 2017 | n.a. | 4646 | US-$(2018)/kWe
Shirvan (2022) | 7 | Historic (Pre-Three-Mile-Island) | PWR | <1979 | 1200 | 4700 | US-$(2018)/kWe
OECD/NEA (2018) Full Costs of Electricity Provision | 68 | Nuclear (median) | n.a. | 2020 | 1300 | 4896 | US-$(2015)/kWe
Rothwell (2022) Projected electricity costs | 4 | Belgium | EPR | 2015 | 1600 | 5515 | US-$(2018)/kWe
OECD/NEA (2018) Full Costs of Electricity Provision | 68 | Nuclear (max) | n.a. | 2020 | 3300 | 6215 | US-$(2015)/kWe
Rothwell (2022) Projected electricity costs | 4 | UK | EPR | 2015 | 1600 | 6588 | US-$(2018)/kWe
Rothwell (2022) Projected electricity costs | 4 | Hungary | VVER1200 | 2015 | 1200 | 6745 | US-$(2018)/kWe
Shirvan (2022) | 7 | Next AP1000 (Post-COVID high estimate) | AP1000 | 2022 | 1150 | 6800 | US-$(2022)/kWe
Rothwell (2022) Projected electricity costs | 2 | Olkiluoto, Finland | EPR | 2020 | 1600 | 7600 | US-$(2018)/kWe
Lazard (2021) LCOE Analysis 15 | 18 | Nuclear (New Build, Low Case) | n.a. | 2021 | 2200 | 7800 | US-$(2022)/kWe
Shirvan (2022) | 7 | Vogtle Station, US (Official) | AP1000 | 2021 | 1150 | 7956 | US-$(2018)/kWe
Rothwell (2022) Projected electricity costs | 6 | NuScale FOAK | SMR | 2022 | n.a. | 8000 | US-$(2018)/kWe
Shirvan (2022) | 7 | Vogtle Station, US (Independent) | AP1000 | 2022 | 1150 | 9200 | US-$(2018)/kWe
Rothwell (2022) Projected electricity costs | 2 | Hinkley Point, Uk | EPR | 2019 | 1600 | 9300 | US-$(2018)/kWe
Shirvan (2022) | 7 | Historic (Post-Three-Mile-Island) | PWR | >1979 | 1200 | 9512 | US-$(2018)/kWe
Rothwell (2022) Projected electricity costs | 2 | Vogtle Station, US | AP1000 | 2021 | 1150 | 12000 | US-$(2018)/kWe
Rothwell (2022) Projected electricity costs | 6 | TerraPower FOAK | SMR | 2022 | n.a. | 12000 | US-$(2018)/kWe
Rothwell (2022) Projected electricity costs | 2 | Flamanville, France | EPR | 2020 | 1600 | 12600 | US-$(2018)/kWe
Lazard (2021) LCOE Analysis 15 | 18 | Nuclear (New Build, High Case) | n.a. | 2021 | 2200 | 12800 | US-$(2022)/kWe
Wealer et al. (2021) Investing into third generation NPPs | 5 | Inputs for MC | n.a. | 2018 | 1600 | 4000-9000 | US-$(2018)/kWe
IAEA (2020) Advances in Small Modular Reactor Technology Developments | 56 | SMART (FOAK) | SMR | 2020 | 30 | 10000 | $/kW
Green (2019) SMR Cost Estimates and costs of SMRS under construction | 18 | HTGR | SMR | 2016 | 250 | 5000 | $/kW
Green (2019) SMR Cost Estimates and costs of SMRS under construction | 18 | CAREM25 | SMR | 2017 | 25 | 21900 | $/kW
Green (2019) SMR Cost Estimates and costs of SMRS under construction | 21 | Median (Low) | SMR | 2013 | 45 | 4000 | $/kW
Green (2019) SMR Cost Estimates and costs of SMRS under construction | 21 | Median (High) | SMR | 2013 | 45 | 16300 | $/kW
Green (2019) SMR Cost Estimates and costs of SMRS under construction | 21 | Median (Low) | SMR | 2013 | 225 | 3200 | $/kW
Green (2019) SMR Cost Estimates and costs of SMRS under construction | 21 | Median (High) | SMR | 2013 | 225 | 7100 | $/kW
Rothwell (2016) Nuclear Economics | 106 | FOAK, no sec | SMR | 2013 | 360 | 7343 | $/kW
Rothwell (2016) Nuclear Economics | 106 | NOAK, no sec | SMR | 2013 | 360 | 5357 | $/kW
Rothwell (2016) Nuclear Economics | 106 | FOAK, sec = 0.1% | SMR | 2013 | 360 | 6722 | $/kW
Rothwell (2016) Nuclear Economics | 106 | NOAK, sec = 0.1% | SMR | 2013 | 360 | 4885 | $/kW
Duan et al (2022) | 2 | Capital Costs | US nuclear | n.a. | n.a. | 4000 | $/kW
Duan et al (2022) | 2 | Capital Costs | US nuclear | n.a. | n.a. | 6317 | $/kW
Grubler (2010) | 5179 | Capital Costs France with no cost increase since 1998 | French PWR | 1998 | n.a. | 2600 | US-$(2008)/kWe
Grubler (2010) | 5179 | Capital Costs France with no cost increase since 1998 | French PWR | 1998 | n.a. | 2100 | US-$(2008)/kWe
Breakthrough Institute (2022) Advancing Nuclear Energy | 30 | Lower Cost, High Learning (Best Case) // FOAK CAPEX | Traditional Nuclear | 2020 | n.a. | 4783 | US-$(2020)/kWe
Breakthrough Institute (2022) Advancing Nuclear Energy | 30 | Lower Cost, High Learning (Best Case) // FOAK CAPEX | SMR | 2020 | n.a. | 5108 | US-$(2020)/kWe
Breakthrough Institute (2022) Advancing Nuclear Energy | 30 | Lower Cost, High Learning (Best Case) // FOAK CAPEX | HTGR | 2020 | n.a. | 5518 | US-$(2020)/kWe
Breakthrough Institute (2022) Advancing Nuclear Energy | 30 | Lower Cost, High Learning (Best Case) // FOAK CAPEX | Advanced reactor with thermal storage (ARTES) | 2020 | n.a. | 4000 | US-$(2020)/kWe
Breakthrough Institute (2022) Advancing Nuclear Energy | 30 | Upper Cost, Low Learning (Worst Case) // FOAK CAPEX | Traditional Nuclear | 2020 | n.a. | 6338 | US-$(2020)/kWe
Breakthrough Institute (2022) Advancing Nuclear Energy | 30 | Upper Cost, Low Learning (Worst Case) // FOAK CAPEX | SMR | 2020 | n.a. | 6974 | US-$(2020)/kWe
Breakthrough Institute (2022) Advancing Nuclear Energy | 30 | Upper Cost, Low Learning (Worst Case) // FOAK CAPEX | HTGR | 2020 | n.a. | 7500 | US-$(2020)/kWe
Breakthrough Institute (2022) Advancing Nuclear Energy | 30 | Upper Cost, Low Learning (Worst Case) // FOAK CAPEX | Advanced reactor with thermal storage (ARTES) | 2020 | n.a. | 6220 | US-$(2020)/kWe
MIT (2018) The Future of Nuclear Energy | 236 | Overnight Costs (Standard LWR) | LWR | 2018 | n.a. | 5000 | US-$(2017)/kWe
MIT (2018) The Future of Nuclear Energy | 70 | Total Overnight Costs | Molten Salt Reactor | 2018 | 2275 (MWth) | 5400 | US-$(2017)/kW
Boldon & Sabharwall (2014) Small Modular Reactor FOAK vs. NOAK | 19 | Input Water-Cooled SMR | SMR | 2014 | 1260 | 3767 | US-$(2011)/kW
MIT (2018) The Future of Nuclear Energy | 236 | FOAK CAPEX | HTGR | 2017 | n.a. | 5200 | US-$(2017)/kW
Stewart & Shirvan (2021) Preprint SMR Cost | 13 | FOAK (US) | Large Passive Safety PWR | 2018 | n.a. | 4328 | US-$(2018)/kWe
Stewart & Shirvan (2021) Preprint SMR Cost | 13 | FOAK (China) (min) | Large Passive Safety PWR | 2018 | n.a. | 1700 | US-$(2018)/kWe
Stewart & Shirvan (2021) Preprint SMR Cost | 13 | FOAK (China) (max) | Large Passive Safety PWR | 2018 | n.a. | 2200 | US-$(2018)/kWe
Stewart & Shirvan (2021) Preprint SMR Cost | 13 | First-4 unit average | Large Active Safety PWR | 2018 | n.a. | 5337 | US-$(2018)/kWe
Stewart & Shirvan (2021) Preprint SMR Cost | 13 | APR1400 4-unit average - Barakah | APR1400 | 2018 | n.a. | 4358 | US-$(2018)/kWe
Stewart & Shirvan (2021) Preprint SMR Cost | 13 | 10th of a kind | SMR | 2018 | n.a. | 3856 | US-$(2018)/kWe
NREL (2021) Annual Technology Baseline | Xls sheet "Nuclear" | Nuclear-Moderate | Nuclear | 2019 | n.a. | 6297 | US-$(2019)/kWe
MIT (2018) The Future of Nuclear Energy | 159, 220 | Benchmark Scenario Cost | Nuclear | 2018 | n.a. | 4900 | US-$(2017)/kW
MIT (2018) The Future of Nuclear Energy | 220 | Barakah OCC | APR1400 | 2010 | n.a. | 4000 | US-$(2017)/kW
MIT (2018) The Future of Nuclear Energy | 149 | US (high) | Nuclear | 2018 | 1000 | 6880 | US-$(2017)/kW
MIT (2018) The Future of Nuclear Energy | 149 | US (nominal) | Nuclear | 2018 | 1000 | 5500 | US-$(2017)/kW
MIT (2018) The Future of Nuclear Energy | 149 | US (low) | Nuclear | 2018 | 1000 | 4100 | US-$(2017)/kW
MIT (2018) The Future of Nuclear Energy | 149 | US (very low) | Nuclear | 2018 | 1000 | 2750 | US-$(2017)/kW
MIT (2018) The Future of Nuclear Energy | 150 | China (nominal) | Nuclear | 2018 | 1000 | 2800 | US-$(2017)/kW
MIT (2018) The Future of Nuclear Energy | 150 | China (low) | Nuclear | 2018 | 1000 | 2080 | US-$(2017)/kW
MIT (2018) The Future of Nuclear Energy | 151 | France (nominal) | Nuclear | 2018 | 1000 | 6800 | US-$(2017)/kW
MIT (2018) The Future of Nuclear Energy | 151 | France (low) | Nuclear | 2018 | 1000 | 5070 | US-$(2017)/kW
MIT (2018) The Future of Nuclear Energy | 150 | UK (nominal) | Nuclear | 2018 | 1000 | 8140 | US-$(2017)/kW
MIT (2018) The Future of Nuclear Energy | 150 | UK (low) | Nuclear | 2018 | 1000 | 6070 | US-$(2017)/kW
National Nuclear Laboratory (2016) Techno-economic assessment of SMR | 46 | LCOE build-up for GWe LWR | LWR | n.a. | n.a. | 26.99 | USD/MWh
IEA (2020) Projected Costs of Generating Electricity | 49 | Nuclear New Build - France | EPR | 2019 | 1650 | 4013 | USD/kW
IEA (2020) Projected Costs of Generating Electricity | 49 | Nuclear New Build - Japan | ALWR | 2019 | 1152 | 3963 | USD/kW
IEA (2020) Projected Costs of Generating Electricity | 49 | Nuclear New Build - Korea | ALWR | 2019 | 1377 | 2157 | USD/kW
IEA (2020) Projected Costs of Generating Electricity | 49 | Nuclear New Build - Russia | VVER | 2019 | 1122 | 2271 | USD/kW
IEA (2020) Projected Costs of Generating Electricity | 49 | Nuclear New Build - Slovak Republic | Other nuclear | 2019 | 1004 | 6920 | USD/kW
IEA (2020) Projected Costs of Generating Electricity | 49 | Nuclear New Build - United States | LWR | 2019 | 1100 | 4250 | USD/kW
IEA (2020) Projected Costs of Generating Electricity | 49 | Nuclear New Build - China | LWR | 2019 | 950 | 2500 | USD/kW
IEA (2020) Projected Costs of Generating Electricity | 49 | Nuclear New Build - India | LWR | 2019 | 950 | 2778 | USD/kW
Tolley et al (2004) Economic Future of Nuclear Power | 7 | No-Policy Nuclear LCOE Installations (Max OCC) | Advanced Nuclear Reactor | 2003 | 1000 | 1800 | USD(2003)/kW
Dixon et al (2017) Advanced Fuel Cycle Cost Basis | xii | Mean Costs | Thermal LWR Reactor | 2017 | n.a. | 4300 | US-$(2017)/kW
Dixon et al (2017) Advanced Fuel Cycle Cost Basis | xii | Mean Costs | Fast Reactors | 2017 | n.a. | 4700 | US-$(2017)/kW
Dixon et al (2017) Advanced Fuel Cycle Cost Basis | xii | Mean Costs | Gas-cooled reactors | 2017 | n.a. | 5170 | US-$(2017)/kW
Dixon et al (2017) Advanced Fuel Cycle Cost Basis | xii | Mean Costs | PHWR | 2017 | n.a. | 4230 | US-$(2017)/kW
Table | B | Real LWR OCC Data for OECD Countries
Reference | Cost Description |  | Cost in US-$(2018)/kW
Rothwell (2022) Projected electricity costs | Flamanville, France |  | 12600
Rothwell (2022) Projected electricity costs | Hinkley Point, Uk |  | 9300
Shirvan (2022) | Historic (Post-Three-Mile-Island) |  | 9512
Shirvan (2022) | Historic (Pre-Three-Mile-Island) |  | 4700
Lazard (2021) LCOE Analysis 15 | Nuclear (New Build, High Case) |  | 10883.4283
Lazard (2021) LCOE Analysis 15 | Nuclear (New Build, Low Case) |  | 6632.0891
Rothwell (2022) Projected electricity costs | Olkiluoto, Finland |  | 7600
Rothwell (2022) Projected electricity costs | Vogtle Station, US |  | 12000
Shirvan (2022) | Vogtle Station, US (Independent) |  | 9200
Shirvan (2022) | Vogtle Station, US (Official) |  | 7956
Table | C | Projected and Assumed LWR OCC Data for OECD Countries
Reference | Cost Description |  | Cost in US-$(2018)/kW
Barkatullah & Ahmad (2017) Current status and emerging trends | Asssumed parameters |  | 4646
Breakthrough Institute (2022) Advancing Nuclear Energy | Lower Cost, High Learning (Best Case) // FOAK CAPEX |  | 4640.5356
Breakthrough Institute (2022) Advancing Nuclear Energy | Upper Cost, Low Learning (Worst Case) // FOAK CAPEX |  | 6149.219
Dixon et al (2017) Advanced Fuel Cycle Cost Basis | Mean Costs |  | 4404.92
Duan et al (2022) | Capital Costs 1 |  | 4000
Duan et al (2022) | Capital Costs 2 |  | 6317
IEA (2020) Projected Costs of Generating Electricity | Nuclear New Build - France |  | 3941.656
IEA (2020) Projected Costs of Generating Electricity | Nuclear New Build - Japan |  | 3892.5449
IEA (2020) Projected Costs of Generating Electricity | Nuclear New Build - Korea |  | 2118.6524
IEA (2020) Projected Costs of Generating Electricity | Nuclear New Build - Slovak Republic |  | 6796.9748
IEA (2020) Projected Costs of Generating Electricity | Nuclear New Build - United States |  | 4174.4426
MIT (2018) The Future of Nuclear Energy | Benchmark Scenario Cost |  | 5019.56
MIT (2018) The Future of Nuclear Energy | France (low) |  | 5193.708
MIT (2018) The Future of Nuclear Energy | France (nominal) |  | 6965.92
MIT (2018) The Future of Nuclear Energy | Overnight Costs (Standard LWR) |  | 5122
MIT (2018) The Future of Nuclear Energy | UK (low) |  | 6218.108
MIT (2018) The Future of Nuclear Energy | UK (nominal) |  | 8338.616
MIT (2018) The Future of Nuclear Energy | US (high) |  | 7047.872
MIT (2018) The Future of Nuclear Energy | US (low) |  | 4200.04
MIT (2018) The Future of Nuclear Energy | US (nominal) |  | 5634.2
MIT (2018) The Future of Nuclear Energy | US (very low) |  | 2817.1
NREL (2021) Annual Technology Baseline | Nuclear-Moderate |  | 6185.0506
OECD/NEA (2018) Full Costs of Electricity Provision | Nuclear (max) |  | 6584.171
OECD/NEA (2018) Full Costs of Electricity Provision | Nuclear (mean) |  | 4501.3906
OECD/NEA (2018) Full Costs of Electricity Provision | Nuclear (median) |  | 5186.8224
OECD/NEA (2018) Full Costs of Electricity Provision | Nuclear (min) |  | 1914.3358
Rothwell (2022) Projected electricity costs | Belgium |  | 5515
Rothwell (2022) Projected electricity costs | Hungary |  | 6745
Rothwell (2022) Projected electricity costs | UK |  | 6588
Shirvan (2022) | 10th unit AP1000 (Post-COVID high estimate) |  | 3826.2053
Shirvan (2022) | 10th unit AP1000 (Should cost) |  | 2900
Shirvan (2022) | Next AP1000 (Post-COVID high estimate) |  | 5781.8213
Shirvan (2022) | Next AP1000 (Should cost) |  | 4300
Stewart & Shirvan (2021) Preprint SMR Cost | First-4 unit average |  | 5337
Stewart & Shirvan (2021) Preprint SMR Cost | FOAK (US) |  | 4328
Wealer et al. (2021) Investing into third generation NPPs | Inputs for MC MAX |  | 9000
Wealer et al. (2021) Investing into third generation NPPs | Inputs for MC MIN |  | 4000

## Chapter_10_SNR_OCC_Data
SNR Cost Data Unfiltered
Reactor | Country | Reactor Type | Electrical Capacity (net) [MW] | Thermal Capacity [MW] | Lifetime | Capital Cost | Unit | Year | Description | Readiness | Reference
ASTRID | France | SFR | 600 |  |  | 7166.6667 | USD/kWe | 2010 | Total Project Cost | FOAK | Rodriguez (2018); Pistner et al. (2023)
NuScale | USA | LWR-SMR | 924 |  |  | 3600 | USD/kWe | 2018 | NOAK OCC | NOAK | Rothwell (2022) Projected electricity costs
NuScale | USA | LWR-SMR | 924 |  |  | 8000 | USD/kWe | 2018 | FOAK OCC | FOAK | Rothwell (2022) Projected electricity costs
TerraPower | USA | LWR-SMR | 600 |  |  | 12000 | USD/kWe | 2018 | FOAK OCC | FOAK | Rothwell (2022) Projected electricity costs
HTGR | China | HTR | 250 |  |  | 6000 | USD/kWe | 2016 | OCC | FOAK | Green (2019) SMR Cost Estimates and costs of SMRS under construction
CAREM25 |  | LWR-SMR | 25 |  |  | 21900 | USD/kWe | 2017 | OCC | FOAK | Green (2019) SMR Cost Estimates and costs of SMRS under construction
SMART |  | LWR-SMR | 30 |  |  | 10000 | USD/kWe | 2020 | FOAK | FOAK | IAEA (2020) Advances in Small Modular Reactor Technology Developments
HTGR |  | HTR | 80 |  |  | 5518 | USD/kWe | 2020 | Lower Cost, High Learning (Best Case) // FOAK CAPEX | FOAK | Breakthrough Institute (2022) Advancing Nuclear Energy
Advanced reactor with thermal storage (ARTES) |  | LWR | 345 |  |  | 4000 | USD/kWe | 2020 | Lower Cost, High Learning (Best Case) // FOAK CAPEX | FOAK | Breakthrough Institute (2022) Advancing Nuclear Energy
HTGR |  | HTR | 80 |  |  | 7500 | USD/kWe | 2020 | Upper Cost, Low Learning (Worst Case) // FOAK CAPEX | FOAK | Breakthrough Institute (2022) Advancing Nuclear Energy
Advanced reactor with thermal storage (ARTES) |  | LWR | 345 |  |  | 6220 | USD/kWe | 2020 | Upper Cost, Low Learning (Worst Case) // FOAK CAPEX | FOAK | Breakthrough Institute (2022) Advancing Nuclear Energy
Fast Reactors |  | SFR |  |  |  | 4700 | USD/kWe | 2017 | OCC | NOAK | Dixon et al (2017) Advanced Fuel Cycle Cost Basis
Gas-cooled reactors |  | HTR |  |  |  | 5170 | USD/kWe | 2017 | OCC | NOAK | Dixon et al (2017) Advanced Fuel Cycle Cost Basis
Gas Turbines Modular Helium Reactor | USA | HTR | 264 | 600 |  | 1520.4545 | USD/kWe | 2003 | Capital Cost (+8% interest) | NOAK | Schultz et al. (2003) Large Scale Production of Hydrogen by Nuclear
KLT-40s |  | LWR-SMR | 35 | 150 | 40 | 3314 | USD/kWe | 2018 | FOAK | FOAK | Nian & Zhong (2019) Economic feasibility of flexible
EM2 |  | HTR | 116.6 | 265 | 60 | 4330 | USD/kWe | 2019 | NOAK 4 units // Var cost divided over full lifetime | NOAK | Faibish (2020) EM² status report
HTR-PM |  | HTR | 210 | 500 | 40 | 3270 | USD/kWe | 2018 | FOAK | FOAK | Nian & Zhong (2019) Economic feasibility of flexible
PBMR-400 | Sout Africa | HTR | 265 | 116.3 | 40 | 1000 | USD/kWe | 2001 | NOAK plant cost | NOAK | IAEA (2001) Current status of modular high temperature gas cooled reactors
ARC-100 |  | SFR | 44 | 100 | 60 | 5000 | USD/kWe | 2019 | Construction Cost | NOAK | Birch (2019) EBR-II aides ARC100
GT-MHR | Russia | HTR | 285 | 600 |  | 2245 | USD/kWe | 2000 | FOAK prototype | FOAK | IAEA (2001) Current status of modular high temperature gas cooled reactors
GT-MHR | Russia | HTR | 285 | 600 |  | 923 | USD/kWe | 2000 | NOAK 4 units | NOAK | IAEA (2001) Current status of modular high temperature gas cooled reactors
CEFR |  | SFR | 8.8 | 20 | 30 | 19350 | USD/kWe | 2018 | FOAK | FOAK | Hibbs (2018) Future of Nuclear Power in China
4S (Small) |  | SFR | 4.4 | 10 | 60 | 6000 | USD/kWe | 2011 | Capital Cost and Combined Operating License (Medium Case) | NOAK | Holdman et al. (2011) Small Scale Nuclear Power in Alaska
4S (Large) |  | SFR | 22 | 50 | 60 | 1200 | USD/kWe | 2011 | Capital Cost and Combined Operating License (Medium Case) | NOAK | Holdman et al. (2011) Small Scale Nuclear Power in Alaska
Hyperion |  | LFR | 25 | 70 |  | 2400 | USD/kWe | 2011 | Capital Cost and Combined Operating License (Medium Case) | NOAK | Holdman et al. (2011) Small Scale Nuclear Power in Alaska
IMSR-300 |  | MSR | 62.04 | 141 | 56-60 | 3719.51 | USD/kWe | 2015 | Overnight cost with first fuel load | NOAK | Samalova et al. (2017) Comparative economic analysis
IMSR-600 |  | MSR | 128.04 | 291 |  | 2850.37 | USD/kWe | 2015 | Overnight cost with first fuel load | NOAK | Samalova et al. (2017) Comparative economic analysis
IMSR-80 |  | MSR | 14.3 | 32.5 |  | 9164.31 | USD/kWe | 2015 | Overnight cost with first fuel load | NOAK | Samalova et al. (2017) Comparative economic analysis
SSR-W |  | MSFR | 13.2 | 30 | 60 | 1950 | USD/kWe | 2020 | Construction Cost | NOAK | Booking (2015) as cited by Steigerwald et al. (2023)
e-Vinci |  | MSR | 1.54 | 3.5 | 40 | 5771.429 | USD/kWe | 2020 | Construction Cost | NOAK | Wang (2019) as cieted by Steigerwald et al. (2023)
Brest-OD-300 |  | LFR | 132 | 300 | 30 | 4333 | USD/kWe | 2021 | Construction Cost | NOAK | TASS (2021) Cost of BREST fast reactr
Advanced reactor |  | LWR | n.a. | n.a. |  | 3600 | USD/kWe | 2020 | NOAK OCC | NOAK | DOE (2020) Pathways to Commercial Liftoff
NuScale iPWR | Canada | LWR-SMR | 570 | 1920 |  | 5100 | USD/kWe | 2015 | FOAK for 12 Units | FOAK | Short & Schmitt (2018) Deployabilty of Small Modular Reactors
SMART | Canada | LWR-SMR | 100 | 365 |  | 5500 | USD/kWe | 2015 | FOAK for 2 - 3 units | FOAK | Short & Schmitt (2018) Deployabilty of Small Modular Reactors
NGNP | Canada | HTR | 275 | 600 |  | 5980 | USD/kWe | 2014 | NOAK single module | NOAK | Short & Schmitt (2018) Deployabilty of Small Modular Reactors
GT-HTR300 | Japan | HTR | 275 | 600 |  | 3420 | USD/kWe | 2014 | NOAK single module | NOAK | Short & Schmitt (2018) Deployabilty of Small Modular Reactors
NuScale iPWR |  | LWR-SMR | 570 | 1920 |  | 2895 | USD/kWe | 2014 | NOAK for 12 Units | NOAK | Short & Schmitt (2018) Deployabilty of Small Modular Reactors
NuScale iPWR | USA | LWR-SMR | 685 |  |  | 3856 | USD/kWe | 2018 | 10th-OAK for 12 Units | NOAK | Stewart & Shirvan (2022) Capital Cost Estimation for Advanced Nuclear Reactors
NuScale VOYGR | USA | LWR-SMR | 924 |  |  | 2850 | USD/kWe | 2018 | NOAK for 12 Units | NOAK | WNN (2020) Nuscale announces power uprate
Nuscale/UAMPS | USA | LWR-SMR | 426 |  |  | 20139 | USD/kWe | 2022 | FOAK for 6 units | FOAK | Schlissel (2023) Eye-popping new cost estimates
SMART iPWR |  | LWR-SMR |  |  |  | 5600 | USD/kWe | 2014 | n.a. | FOAK | Foss et al. (2021) as cited by Abou-Jaoude et al. (2023)
SMR |  | LWR-SMR | 600 |  |  | 6191 | USD/kWe | 2019 | NOAK 12 units | NOAK | US DOE (2020) Captial Cost Estimates
SMR |  | LWR-SMR | 600 | 2000 |  | 3800 | USD/kWe | 2020 | FOAK 4 units | FOAK | SMR Start (2021) The Economics of Small Modular Reactors
SMR |  | LWR-SMR | 600 | 2000 |  | 2000 | USD/kWe | 2020 | NOAK 4 units | NOAK | SMR Start (2021) The Economics of Small Modular Reactors
traditional HTGR |  | HTR | 1100 | 2500 |  | 4814 | USD/kWe | 2017 | NOAK 4 units | NOAK | Stewart et al (2020) Pathways to cost effective advanced
traditional HTGR |  | HTR | 1100 | 2500 |  | 9900 | USD/kWe | 2017 | FOAK 4 units | FOAK | Stewart et al (2020) Pathways to cost effective advanced
HTGR |  | HTR | n.a. |  |  | 6600 | USD/kWe | 2015 |  | NOAK | Foss et al. (2021) as cited by Abou-Jaoude et al. (2023)
MIGHTR |  | HTR | 616 | 1400 |  | 7346 | USD/kWe | 2017 | FOAK 4 units | FOAK | Stewart et al (2020) Pathways to cost effective advanced
MIGHTR |  | HTR | 616 | 1400 |  | 3585 | USD/kWe | 2017 | FOAK 4 units | FOAK | Stewart et al (2020) Pathways to cost effective advanced
NGNP |  | HTR | 156 | 350 |  | 20994 | USD/kWe | 2009 | FOAK | FOAK | Gandrik et al (2012) Assessment of HTGR Capital and Operating Costs
NGNP |  | HTR | 267 | 600 |  | 14479 | USD/kWe | 2009 | FOAK | FOAK | Gandrik et al (2012) Assessment of HTGR Capital and Operating Costs
NGNP |  | HTR | 154 | 350 |  | 7324 | USD/kWe | 2009 | NOAK 1 unit | NOAK | Gandrik et al (2012) Assessment of HTGR Capital and Operating Costs
NGNP |  | HTR | 267 | 600 |  | 5841 | USD/kWe | 2009 | NOAK 1 unit | NOAK | Gandrik et al (2012) Assessment of HTGR Capital and Operating Costs
NGNP |  | HTR | 616 | 1400 |  | 5718 | USD/kWe | 2009 | NOAK 4 units | NOAK | Gandrik et al (2012) Assessment of HTGR Capital and Operating Costs
NGNP |  | HTR | 1068 | 2400 |  | 4656 | USD/kWe | 2009 | NOAK 4 units | NOAK | Gandrik et al (2012) Assessment of HTGR Capital and Operating Costs
NGNP |  | HTR | 1000 | 2400 |  | 4602 | USD/kWe | 2009 | NOAK 4 units | NOAK | MIT (2018) The Future of Nuclear Energy
HC-HTGR |  | HTR | 101.2 | 230 |  | 7338 | USD/kWe | 2018 | FOAK 1 unit | FOAK | Stewart et al (2021) Economic solution for low carbon process heat
HC-HTGR |  | HTR | 404.8 | 920 |  | 4569 | USD/kWe | 2018 | FOAK 4 units | FOAK | Stewart et al (2021) Economic solution for low carbon process heat
HC-HTGR |  | HTR | 404.8 | 920 |  | 3000 | USD/kWe | 2018 | 10th-OAK 4 unit | NOAK | Stewart et al (2021) Economic solution for low carbon process heat
NGNP |  | HTR | 1056 | 2400 |  | 5728 | USD/kWe | 2018 | FOAK 4 units | FOAK | Stewart et al (2021) Economic solution for low carbon process heat
NGNP |  | HTR | 1056 | 2400 |  | 3400 | USD/kWe | 2018 | 10th-OAK 4 unit | NOAK | Stewart et al (2021) Economic solution for low carbon process heat
MHTGR-SC |  | HTR | 693 | 1800 |  | 3153 | USD/kWe | 1992 | FOAK 4 units | FOAK | US DOE (1993) Modular high temperature gas-cooled reactor commercialization
MHTGR-SC |  | HTR | 693 | 1800 |  | 2347 | USD/kWe | 1992 | NOAK 4 units | NOAK | US DOE (1993) Modular high temperature gas-cooled reactor commercialization
MHTGR-GT/IC |  | HTR | 806 | 1800 |  | 3290 | USD/kWe | 1992 | FOAK 4 units | FOAK | US DOE (1993) Modular high temperature gas-cooled reactor commercialization
MHTGR-GT/IC |  | HTR | 806 | 1800 |  | 2458 | USD/kWe | 1992 | NOAK 4 units | NOAK | US DOE (1993) Modular high temperature gas-cooled reactor commercialization
MHTGR-GT/DC |  | HTR | 869 | 1800 |  | 2656 | USD/kWe | 1992 | FOAK 4 units | FOAK | US DOE (1993) Modular high temperature gas-cooled reactor commercialization
MHTGR-GT/DC |  | HTR | 869 | 1800 |  | 1908 | USD/kWe | 1992 | NOAK 4 units | NOAK | US DOE (1993) Modular high temperature gas-cooled reactor commercialization
HTGR |  | HTR | 1124 |  |  | 5468 | USD/kWe | 2017 | NOAK | NOAK | CleantTEch & Lucid Strategy (2018) The ETI Nuclear Cost Drivers Project as cited by Abou-Jaoude et al. (2023)
SFR |  | SFR | 1100 | 3360 |  | 4940 | USD/kWe | 2013 | NOAK 4 units | NOAK | MIT (2018) The Future of Nuclear Energy
LSPB |  | SFR | 1100 |  |  | 4734 | USD/kWe | 2013 |  | NOAK | Ganda (2015) Economic Evaluation of Promising Options
ABR1000 |  | SFR | 380 |  |  | 5612 | USD/kWe | 2017 |  | NOAK | Ganda et al. (2016) Report on the Update of Fuel Cycle Cost Algorithms
ALWR |  | LWR | 1000 |  |  | 3600 | USD/kWe | 2005 | FOAK | FOAK | Shropshire (2009) Advance Fuel Cycle Economic Tools
ALWR |  | LWR | 1000 |  |  | 1800 | USD/kWe | 2005 | NOAK | NOAK | Shropshire (2009) Advance Fuel Cycle Economic Tools
FR |  | SFR | n.a. |  |  | 4400 | USD/kWe | 2005 | FOAK | FOAK | Shropshire (2009) Advance Fuel Cycle Economic Tools
FR |  | SFR | n.a. |  |  | 2200 | USD/kWe | 2005 | NOAK | NOAK | Shropshire (2009) Advance Fuel Cycle Economic Tools
S-PRISM |  | SFR | 1520 |  |  | 2343 | USD/kWe | 2005 | NOAK | NOAK | Shropshire (2009) Advance Fuel Cycle Economic Tools
S-PRISM |  | SFR | 1651 |  |  | 1317 | USD/kWe | 1996 | TCC 4 units ???? | NOAK | Boardman et al (2001) Economic assessment of s-prism
S-PRISM Mod B |  | SFR | 1866 |  |  | 1823 | USD/kWe | 2005 | NOAK | NOAK | Shropshire (2009) Advance Fuel Cycle Economic Tools
S-PRISM Mod B |  | SFR | 1866 |  |  | 1554 | USD/kWe | 2004 | NOAK 6 units | NOAK | Hoffmann et al (2004) as cited by Abou-Jaoude et al (2023)
LSPB |  | SFR | 1311 |  |  | 4240 | USD/kWe | 2017 | NOAK | NOAK | CleantTEch & Lucid Strategy (2018) The ETI Nuclear Cost Drivers Project as cited by Abou-Jaoude et al. (2023)
AHTR |  | MSR | 1350 | 3000 |  | 4576 | USD/kWe | 2011 | NOAK | NOAK | MIT (2018) The Future of Nuclear Energy
MSR |  | MSR | 1000 | 2275 |  | 5362 | USD/kWe | 2011 | NOAK | NOAK | MIT (2018) The Future of Nuclear Energy
FHR |  | MSR | 1330 | 2904 |  | 4757 | USD/kWe | 2015 | NOAK 12 units | NOAK | MIT (2018) The Future of Nuclear Energy
DMSR |  | MSR | 1000 | 2270 |  | 650 | USD/kWe | 1978 | NOAK | NOAK | Engel et al (1980) Conceptual design characteristics of denatured molten-salt reactor
AHTR |  | HTR | 1530 | 3400 | 40 | 3384 | USD/kWe | 2011 | NOAK | NOAK | Holcomb et al (2011) Advanced High Temperature Reactor
MSR |  | MSR | 190-1000 |  |  | 3664 | USD/kWe | 2017 | NOAK | NOAK | CleantTEch & Lucid Strategy (2018) The ETI Nuclear Cost Drivers Project as cited by Abou-Jaoude et al. (2023)
FR | Russia | SFR |  |  | 60 | 2500 | USD/kWe | 2016 | NOAK | NOAK | IAEA (2023) Comparative Case Study
HTGR | Germany | HTR | 100 | 250 |  | 6318.375 | EUR/kWe | 2017 | FOAK | FOAK | Schröder et al. (2018) Energy economic evaluation
HTGR | Germany | HTR | 100 | 250 |  | 5895.0439 | EUR/kWe | 2017 | NOAK | NOAK | Schröder et al. (2018) Energy economic evaluation
INCOGEN |  | HTR | 16.5 | 40 |  | 6000 | USD/kWe | 1992 | FOAK | FOAK | van Heek (1997) INCOGEN nuclear htr
INCOGEN |  | HTR | 16.5 | 40 |  | 3700 | USD/kWe | 1992 | NOAK | NOAK | van Heek (1997) INCOGEN nuclear htr
Nuclear Reactor | USA | LWR | 1000 |  | 40 | 6880 | USD/kWe | 2017 | US (high) | NOAK | MIT (2018) The Future of Nuclear Energy
Nuclear Reactor | USA | LWR | 1000 |  | 40 | 5500 | USD/kWe | 2017 | US (nominal) | NOAK | MIT (2018) The Future of Nuclear Energy
Nuclear Reactor | USA | LWR | 1000 |  | 40 | 4100 | USD/kWe | 2017 | US (low) | NOAK | MIT (2018) The Future of Nuclear Energy
Nuclear Reactor | USA | LWR | 1000 |  | 40 | 2750 | USD/kWe | 2017 | US (very low) | NOAK | MIT (2018) The Future of Nuclear Energy
Nuclear Reactor | China | LWR | 1000 |  | 40 | 2800 | USD/kWe | 2017 | China (nominal) | NOAK | MIT (2018) The Future of Nuclear Energy
Nuclear Reactor | China | LWR | 1000 |  | 40 | 2080 | USD/kWe | 2017 | China (low) | NOAK | MIT (2018) The Future of Nuclear Energy
Nuclear Reactor | France | LWR | 1000 |  | 40 | 6800 | USD/kWe | 2017 | France (nominal) | NOAK | MIT (2018) The Future of Nuclear Energy
Nuclear Reactor | France | LWR | 1000 |  | 40 | 5070 | USD/kWe | 2017 | France (low) | NOAK | MIT (2018) The Future of Nuclear Energy
Nuclear Reactor | UK | LWR | 1000 |  | 40 | 8140 | USD/kWe | 2017 | UK (nominal) | NOAK | MIT (2018) The Future of Nuclear Energy
Nuclear Reactor | UK | LWR | 1000 |  | 40 | 6070 | USD/kWe | 2017 | UK (low) | NOAK | MIT (2018) The Future of Nuclear Energy
Large Passive Safety PWR | USA | LWR |  |  |  | 4328 | USD/kWe | 2018 | FOAK (US) | FOAK | Stewart & Shirvan (2021) Preprint SMR Cost
Large Passive Safety PWR | China | LWR |  |  |  | 1700 | USD/kWe | 2018 | FOAK (China) (min) | FOAK | Stewart & Shirvan (2021) Preprint SMR Cost
Large Passive Safety PWR | China | LWR |  |  |  | 2200 | USD/kWe | 2018 | FOAK (China) (max) | FOAK | Stewart & Shirvan (2021) Preprint SMR Cost
Large Active Safety PWR |  | LWR |  |  |  | 5337 | USD/kWe | 2018 | First-4 unit average | NOAK | Stewart & Shirvan (2021) Preprint SMR Cost
Advanced Nuclear Reactpr |  | LWR |  |  |  | 3234 | USD/kWe | 2019 | Model assumptions and maximum allowable CapEx for flexbiel nuclear plant | NOAK | Ingersoll et al (2020) Cost and Performance Requirements for Advanced Reactors
European Fast Reactor |  | SFR | 1450 |  | 40 | 1900 | USD/kWe | 2013 | Nuclear technology overview | NOAK | Karakosta et al. (2013) Renewable energy and nuclear powe r towards sustainable development
EPR |  | LWR | 1590 |  | 60 | 1498 | USD/kWe | 2013 | Nuclear technology overview | NOAK | Karakosta et al. (2013) Renewable energy and nuclear powe r towards sustainable development
NuScale |  | LWR-SMR | 924 |  | 60 | 4844 | USD/kWe | 2022 |  | NOAK | Asuega et al. (2023)
GT-MHR |  | HTR | 1048 |  | 60 | 4355 | USD/kWe | 2022 |  | NOAK | Asuega et al. (2023)
IMSR |  | MSR | 1000 |  | 60 | 3985 | USD/kWe | 2022 |  | NOAK | Asuega et al. (2023)
Gen III |  | LWR | 1420 |  | 60 | 4350 | USD/kWe | 2013 | CAPEX ref | FOAK | EC JRC (2014)
Gen III |  | LWR | 1420 |  | 60 | 3850 | USD/kWe | 2013 | CAPEX low | FOAK | EC JRC (2014)
Gen III |  | LWR | 1420 |  | 60 | 5800 | USD/kWe | 2013 | CAPEX high | FOAK | EC JRC (2014)
Gen III |  | LWR | 1450 |  | 60 | 3750 | USD/kWe | 2013 | CAPEX ref | NOAK | EC JRC (2014)
Gen III |  | LWR | 1450 |  | 60 | 3350 | USD/kWe | 2013 | CAPEX low | NOAK | EC JRC (2014)
Gen III |  | LWR | 1450 |  | 60 | 5000 | USD/kWe | 2013 | CAPEX high | NOAK | EC JRC (2014)
Small and Medium Sized light water reactor |  | LWR-SMR | 225 | 800 | 60 | 6300 | USD/kWe | 2013 | CAPEX ref | FOAK | EC JRC (2014)
Small and Medium Sized light water reactor |  | LWR-SMR | 225 | 800 | 60 | 3850 | USD/kWe | 2013 | CAPEX low | FOAK | EC JRC (2014)
Small and Medium Sized light water reactor |  | LWR-SMR | 225 | 800 | 60 | 7750 | USD/kWe | 2013 | CAPEX high | FOAK | EC JRC (2014)
Small and Medium Sized light water reactor |  | LWR-SMR | 225 | 800 | 60 | 5300 | USD/kWe | 2013 | CAPEX ref | NOAK | EC JRC (2014)
Small and Medium Sized light water reactor |  | LWR-SMR | 225 | 800 | 60 | 3350 | USD/kWe | 2013 | CAPEX low | NOAK | EC JRC (2014)
Small and Medium Sized light water reactor |  | LWR-SMR | 225 | 800 | 60 | 6500 | USD/kWe | 2013 | CAPEX high | NOAK | EC JRC (2014)
Sodium-cooled fast reactor |  | SFR | 1500 |  | 60 | 4900 | USD/kWe | 2013 | CAPEX ref | FOAK | EC JRC (2014)
Sodium-cooled fast reactor |  | SFR | 1500 |  | 60 | 3900 | USD/kWe | 2013 | CAPEX low | FOAK | EC JRC (2014)
Sodium-cooled fast reactor |  | SFR | 1500 |  | 60 | 6400 | USD/kWe | 2013 | CAPEX high | FOAK | EC JRC (2014)
Sodium-cooled fast reactor |  | SFR | 1500 |  | 60 | 4500 | USD/kWe | 2013 | CAPEX ref | NOAK | EC JRC (2014)
Sodium-cooled fast reactor |  | SFR | 1500 |  | 60 | 3900 | USD/kWe | 2013 | CAPEX low | NOAK | EC JRC (2014)
Sodium-cooled fast reactor |  | SFR | 1500 |  | 60 | 5200 | USD/kWe | 2013 | CAPEX high | NOAK | EC JRC (2014)
Lead-cooled fast reactor |  | LFR | 600 |  | 60 | 4900 | USD/kWe | 2013 | CAPEX ref | FOAK | EC JRC (2014)
Sodium-cooled fast reactor |  | LFR | 600 |  | 60 | 4500 | USD/kWe | 2013 | CAPEX low | FOAK | EC JRC (2014)
Sodium-cooled fast reactor |  | LFR | 600 |  | 60 | 7100 | USD/kWe | 2013 | CAPEX high | FOAK | EC JRC (2014)
Sodium-cooled fast reactor |  | LFR | 600 |  | 60 | 4500 | USD/kWe | 2013 | CAPEX ref | NOAK | EC JRC (2014)
Sodium-cooled fast reactor |  | LFR | 600 |  | 60 | 3800 | USD/kWe | 2013 | CAPEX low | NOAK | EC JRC (2014)
Sodium-cooled fast reactor |  | LFR | 600 |  | 60 | 6500 | USD/kWe | 2013 | CAPEX high | NOAK | EC JRC (2014)
Molten Salt Reactor |  | MSR | 1000 |  |  | 653 | USD/kWe | 1978 | total capital cost | NOAK | Moir (2000)